## Slide 1
What type of OCT findings are typical for glaucoma?
Kouros Nouri-Mahdavi, MD, MS
Professor in Residence
Kay K. Pick Chair of Ophthalmology
Director, Glaucoma Advanced Imaging and AI Laboratory

## Slide 2: Conflict of Interest
 | No, nothing to disclose
X | Yes, specified below:
Receipt of grants / research supports: | Receipt of honoraria or consultation fees: | Participation in a company sponsored speaker’s bureau: | Stock shareholder: | Spouse / partner: | Other support:
Heidelberg Engineering | Topcon Healthcare | NA | NA | NA | NA

## Slide 3: The RGC Axonal Complex
Bogunovic H, Young HK, Rashid A, et al. IOVS 2015

## Slide 4: Use All Your Tools on The OCT Device
Retinal nerve fiber layer (RNFL): Most useful in early to moderate glaucoma
Neuroretinal rim (NRR) of the ONH:
  Influenced by the BMO area, complementary to RNFL
Macula: Potentially helpful imaging tool in moderate to advanced glaucoma

## Slide 5: First Things First!
Make sure the OCT image is reliable:
Right patient, correct eye!
Adequate quality: Acceptable signal strength or quality factor
No artifacts: motion, blink, media opacity
Proper segmentation of RNFL, and neuroretinal rim

## Slide 6: How glaucoma affects OCT findings?
Mostly RNFL or NRR thinning!
RNFL asymmetry between fellow eyes may be an early sign
Sometimes empty spaces (schisis cavities, occasional holes)
  Can lead to spurious thickening of the RNFL or NRR!

## Slide 7: Real and Artifactitious findings can coexist!

## Slide 8: Patterns of RNFL Damage
Wedge defect with tip towards the ONH
Mostly at superior or inferior poles
Normally in defined peripapillary areas (Hood)
May be atypical in myopic eyes

## Slide 9
Patterns of RNFL Damage
Cirrus HD-OCT

## Slide 10
Patterns of RNFL Damage
Spectralis OCT
Glaucoma Module Premium Edition
Adjusted for Fovea-BMO Axis Angle

## Slide 12
Myopic Eye

## Slide 13: RNFL asymmetry can be subtle!

## Slide 14
Early Glaucoma

## Slide 18
RNFL Split Bundle

## Slide 19: Schisis Cavity: RNFL
T
T
S
I
OS

## Slide 20: Schisis Cavities: Inner Retinal Layers and OPL/INL
1-6% prevalence

## Slide 21: Inner Layer Holes

## Slide 22
Thank You